- 25-30.125 System Maps and Records.

Each utility shall maintain on file at its principal office located within the State suitable maps, drawings and/or records of its system and facilities to show size, location, character, date of installation and installed cost of major items of plant and extension of facilities.

Rulemaking Authority 367.121 FS. Law Implemented 367.121 FS. History–New 9-12-74, Formerly 25-10.27, 25-10.027.