## 25-30.231 Extent of System Which Utility Shall Maintain.

Each utility, unless specifically relieved in any case by the Commission from such obligation, shall operate and maintain in safe, efficient and proper condition all of the facilities and equipment used in connection with the collection and regulation of flow of wastewater in the sewer mains and the distribution, regulation, measurement and delivery of water service to the customer up to and including the point of delivery into the piping owned by the customer. The utility may require that each customer shall be responsible for cleaning and maintaining sewer laterals to the service connection.

Rulemaking Authority 367.121(1)(f) FS. Law Implemented 367.111 FS. History–New 4-20-63, Amended 9-12-74, Formerly 25-10.109, Amended 11-10-86.