- 25-30.261 Meter Readings.

(1) The utility shall read its service meters at regular intervals and, insofar as practicable within regularly scheduled work days, on the corresponding day of each meter reading period.

(2) The utility shall read the register of each meter in the same units that the utility uses for billing purposes, except that a water meter may register in gallons or in cubic feet.

(3) The service meters shall be marked to indicate the units measured by that meter.

(4) The meter shall be marked with any constant or multiplier that the utility uses to determine the amount of service used by a customer.

Rulemaking Authority 350.127(2), 367.121 FS. Law Implemented 367.111, 367.121 FS. History–New 9-12-74, Formerly 25-10.95, 25-10.095, Amended 11-10-86.