## 59A-7.026 Approval of Proficiency Testing Programs.

(1) In order for a proficiency testing program to receive agency approval, the program must be offered by a private nonprofit organization or a federal or state agency, or entity acting as a designated agent for the state, and be approved by the federal Health Care Financing Administration pursuant to the Clinical Laboratory Improvement Amendments of 1988 and federal rules adopted thereunder.

(2) The proficiency testing program must:

(a) Provide the agency and participating laboratories with an electronic or a hard copy, or both, of reports of proficiency testing results and all scores for each laboratory’s performance for each specialty, subspecialty, and analyte or test for which participation is required within 60 days after the date by which the laboratory must report proficiency testing results to the proficiency testing program;

(b) Provide the agency with reports of proficiency testing results and scores of individual performance in cytology and provide copies of reports to participating individuals, and to all laboratories that employ the individuals, within 15 working days of the testing event;

(c) Furnish to the agency cumulative reports on an individual laboratory’s performance and aggregate data on peer group laboratories for the purpose of establishing a system to make the proficiency testing program’s results available, and include explanatory information to assist in the interpretation of the proficiency testing program’s results;

(d) Provide the agency with additional information and data upon request and submit such information necessary for the agency to determine compliance with this rule and Chapter 483, Part I, F.S.;

(e) Maintain records of laboratories’ performance for a period of five years or such time as necessary for any legal proceedings; and

(f) Provide the agency with a report which identifies any previously unrecognized sources of variability in kits, instruments, methods, or proficiency testing samples, which adversely affect the program’s ability to evaluate laboratory performance.

(3) Nonapproved proficiency testing programs. If a proficiency testing program is determined by the federal Health Care Financing Administration to fail to meet any criteria for approval of the proficiency testing program, the program must notify the agency and all laboratories enrolled of the nonapproval and the reasons for nonapproval within 30 days of the notification. Within 30 days of such notification, affected laboratories must submit documentation of enrollment in an approved proficiency testing program as provided in this subpart.

Rulemaking Authority 483.051 FS. Law Implemented 483.051 FS. History–New 11-20-94.