- 62-307.300 Implementation Procedures.

(1) As provided in an approved sampling and analysis plan, a nonpoint source discharger must ensure that water samples are taken at the frequency at all locations set forth in the approved sampling and analysis plan.

(2) The collected water samples must be tested in accordance with the approved sampling and analysis plan.

(3) Sample collection and analytical test methods on the collected samples shall be conducted in accordance with chapter 62-160, F.A.C.

(4) Monitoring records must be retained onsite for at least 5 years and be made available for inspection upon request.

(5) The nonpoint source discharger shall submit an annual report to the Department consistent with an approved sampling and analysis plan. The annual report must include all the laboratory analytical test results on the water samples taken.

(6) The Department shall verify implementation of nonagricultural nonpoint source BMPs required by section 403.067(7), F.S., by inspection or other appropriate compliance mechanisms.

(7) The Department shall have all remedies available to it under Florida law, including those in Sections 403.121, 403.141, and 403.161, F.S., to enforce compliance with this rule chapter or section 403.067(7)(c), F.S.

Rulemaking Authority 403.067 FS. Law Implemented 403.067 FS. History–New 7-1-18.