## 64E-5.1314 Possession of Survey Instruments.

A licensee authorized to perform installations, maintenance or service, initial radiation surveys, relocations or removal from service of sealed sources in fixed devices shall possess portable radiation survey instruments with a range from 1 millirem (10 µSv) per hour to 200 millirem (2 µSv) per hour. The instruments shall be operable and calibrated as provided in Rule 64E-5.314, F.A.C.

Rulemaking Authority 404.051, 404.061, 404.071, 404.081 FS. Law Implemented 404.022, 404.051(1), (4), (6), (9), (10), 404.061(2), (3), 404.071(1), 404.081(1) FS. History–New 5-12-93, Amended 1-1-94, Formerly 10D-91.1419.