- 69A-21.302 Standards of National Fire Protection Association to Be Complied With.

The following standards of the National Fire Protection Association as adopted in rule chapter 69A-3, F.A.C., are applicable to part III of this rule chapter and shall be complied with and are hereby adopted and incorporated by reference:

(1) NFPA 12, Standard on Carbon Dioxide Extinguishing Systems.

(2) NFPA 12A, Standard on Halon 1301 Fire Extinguishing Systems.

(3) NFPA 17, Standard for Dry Chemical Extinguishing Systems.

(4) NFPA 17A, Standard for Wet Chemical Extinguishing Systems.

(5) NFPA 96 – 1998 edition, Standard for Ventilation Control and Fire Protection of Commercial Cooking Operations, as adopted in rule chapter 69A-3, F.A.C.

(6) NFPA 2001, Standard on Clean Agent Fire Extinguishing Systems.

(7) NFPA 34 – Standard for Dipping and Coating Processes Using Flammable or Combustible Liquids.

Rulemaking Authority 633.104 FS. Law Implemented 633.104, 633.304 FS. History–New 10-18-67, Amended 8-15-85, Formerly 4A-21.57, 4A-21.057, Amended 2-7-89, 10-20-93, 10-2-96, 6-8-98, 11-21-01, Formerly 4A-21.302.