- 69A-21.303 Standard Service Tag.

(1) A standard service tag shall be affixed to pre-engineered fire protection systems when the system is found to be in compliance with chapter 633, F.S., this rule and the standards adopted pursuant to rule chapter 69A-3, F.A.C. The standard service tag on a pre-engineered fire protection system shall indicate that the person, whose name and permit number appear on the tag, has serviced the system in compliance with this rule and the standards adopted herein.

(2) The standard service tag shall comply with the specifications embodied in subsection 69A-21.241(1), F.A.C.

(3) The standard service tag shall be completed and affixed to pre-engineered fire protection systems as described in rule 69A-21.240 and subsection 69A-21.241(1), F.A.C.

(4) The verification service collar requirements of subsection 69A-21.241(2), F.A.C., shall be applicable to pre-engineered fire protection systems.

(5) The six year maintenance record tag requirements of paragraph 69A-21.237(2)(b), F.A.C., shall be applicable to pre-engineered fire protection systems.

(6) The hydrostatic test record tag requirements of rule 69A-21.245, F.A.C., shall be applicable to pre-engineered fire protection systems.

Rulemaking Authority 633.104, 633.308 FS. Law Implemented 633.104, 633.308 FS. History–New 8-15-85, Formerly 4A-21.58, 4A-21.058, Amended 2-7-89, 10-20-93, 11-21-01, Formerly 4A-21.303.