## 69A-41.017 Portable Fire Extinguishers.

Residential child care facilities shall have at least one general purpose Class A, B, and C portable fire extinguisher for each floor. All required extinguishers shall have a minimum rating of 2A-10B:C and shall be placed so that the nearest extinguisher is not more than 75 feet from any other point in the facility.

Rulemaking Authority 633.104 FS. Law Implemented 633.104(1), 633.206(1)(b) FS. History–New 7-2-84, Formerly 4A-41.17, Amended 9-24-90, 7-11-01, Formerly 4A-41.017.