- 69A-48.004 Testing Laboratories Application for Certification.

Equipment used for the installation of a fire alarm system shall be approved by a nationally recognized testing laboratory. All information concerning the equipment shall be submitted to the authority having jurisdiction.

Rulemaking Authority 633.346(4), 633.348(7) FS. Law Implemented 633.104(1), 633.206(2)(b), 633.346(4), 633.348(7) FS. History–New 6-28-90, Amended 11-16-94, 7-11-01, Formerly 4A-48.004.