- 64E-12.008 Laundry.

(1) Where laundry facilities are provided, they shall be adequate to ensure an ample quantity of clean clothing, bed linens and towels. Laundry facilities shall be of sound construction and shall be kept clean and in good repair. Adequate space shall be provided for the complete separation of clean and soiled clothing, linen and towels.

(2) Laundry rooms shall have fixtures that provide at least 30 foot-candles of illumination, be kept clean and free of lint build-up, and be properly ventilated as specified in the applicable building provisions of the State Building Code, as adopted in Rule 9B-3.047, F.A.C. Lighting will be measured 30 inches above the floor. Clothes dryers shall be vented to the exterior. Carts used for transporting dirty clothes, linens and towels shall not be used for transporting clean articles unless they have been thoroughly cleaned and sanitized.

Rulemaking Authority 381.006, 381.006(16) FS. Law Implemented 381.006,  381.006(16) FS. History–New 6-18-87, Formerly 10D-23.012, Amended 1-20-08.