62-160.650 Field and Laboratory Audits.

(1) The Department and agencies or individuals with delegated authority from the Department shall conduct periodic audits of field and laboratory procedures and/or records to determine if approved protocols are being followed as required and to ensure data are being generated in compliance with the requirements of this chapter.

(2) An audit shall consist of one or more of the following:

(a) An on-site assessment of field sampling and/or laboratory procedures;

(b) A review, assessment and/or validation of data associated with a Department program activity;

(c) The submission of performance samples (e.g., blind, split and/or performance check samples) to an organization for subsequent use in the evaluation of that organization’s technical performance associated with a specific Department project or program activity; or

(d) Other relevant information as specified in a Department contract, order, permit or Title 62 rule.

(3) Upon request, the field sampling organization, consultant or responsible party shall provide copies of all applicable records as specified in Rule 62-160.240, F.A.C. Sufficient information shall be provided to enable the auditor to independently reconstruct all field procedures related to the project.

(4) Upon request, the laboratory, consultant or responsible party shall provide copies of those applicable records as specified in Rule 62-160.340, F.A.C. Sufficient information shall be provided to enable the auditor to independently reconstruct all laboratory procedures related to the project.

(5) Within ninety (90) days of the audit, the Department shall provide a preliminary audit report to the audited party. The audited party shall have forty-five (45) days thereafter to respond with a detailed plan of corrective actions and an implementation schedule for the deficiencies that were noted in the preliminary audit report; justification for noted deficiencies that will not be addressed or corrected; and any corrections to the audit findings.

(6) Failure to respond with a plan of corrective action or to additional requests by the Department for a plan of corrective action shall result in a recommendation to the affected program that the data not be used.

(7) Once a response has been received, the Department shall evaluate the response for technical applicability and completeness. The Department will issue a final response to the audited party and any affected laboratory that specifies acceptance or rejection of the audited party’s plan of corrective actions, provides recommendations concerning the usability of the audited data, and includes a statement of any substantially affected person’s rights under Chapter 120, F.S. Any substantially affected person (e.g., affected permittee, facility owner/operator, laboratory, or field sampling consultant) may request an administrative hearing as provided in Chapter 120, F.S., within 21 days of receipt of the final response.

Specific Authority 403.061, 403.0623 FS. Law Implemented 373.026, 373.309, 373.409, 373.413, 373.414, 373.416, 373.4592, 376.303, 376.305, 376.3071, 403.0623, 403.0625, 403.087, 403.088, 403.0881, 403.504, 403.704, 403.707, 403.722, 403.853 FS.  History–New 1-1-91, Formerly 17-160.650, Amended 3-24-96, 4-9-02, 12-3-08.