- 64E-5.639 Viewing Systems.

A licensee shall construct or equip each teletherapy, medium or high dose rate remote afterloader, or gamma stereotactic radiosurgery room to permit continuous observation of the patient, or human research subject from the teletherapy unit console during irradiation.

Rulemaking Authority 404.022, 404.051, 404.061, 404.071, 404.081, 404.141 FS. Law Implemented 404.022, 404.051(1), (4), (5), (6), (8), (9), (10), (11), 404.061(2), (3), 404.071(1), 404.081, 404.141 FS. History–New 8-25-91, Formerly 10D-91.758, Amended 2-11-10.