Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice:

On June 10, 2015, the Department issued a Final Order that was in response to a Petition for Variance from 933 Office Building, filed May 21, 2015, and advertised on June 2, 2015 in Vol. 41, No. 106, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance denies the Petitioner a variance from Rule 3.11.3, ASME A17.3, 1996 edition, as adopted by paragraph 61C-5.001(1)(a), F.A.C., that requires upgrading the elevators for firefighters’ emergency operations because Petitioner had previous variances and demonstrated no efforts to meet the intent of code; and the Petitioner has not demonstrated that the purpose of the underlying statute has been met, or that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2015-128).

A copy of the Order or additional information may be obtained by contacting: Michelle Comingore, Bureau of Elevator Safety, 1940 North Monroe Street, Tallahassee, Florida 32399-1013, (850)488-1133.