Notice of Variances and Waivers

DEPARTMENT OF BUSINESS AND PROFESSIONAL REGULATION

Division of Hotels and Restaurants

RULE NO.:	RULE TITLE:

61C-5.001	Safety Standards

The Department of Business and Professional Regulation, Division of Hotels and Restaurants, Bureau of Elevator Safety hereby gives notice: On February 26, 2021, the Division issued an order. The Final Order was in response to a Petition for an emergency permanent Variance from The Ocean Cloverleaf, filed February 15, 2021, and advertised on February 18, 2021, in Vol. 47, No. 33, of the Florida Administrative Register. No comments were received in response to the petition. The Final Order on the Petition for Variance grants the Petitioner a variance from Rule 110.26(A)(1), NFPA 70, 2017 National Electric Code, as adopted by Rule 61C-5.001 Florida Administrative Code which requires the depth of a working space in the direction of live parts shall not be less than the specified requirements of Condition 2, which requires a minimum clearance distance of 3 feet 6 inches, because the Petitioner has demonstrated that the purpose of the underlying statute has been met and that Petitioner would suffer a substantial hardship if required to comply with this rule (VW2021-017).

A copy of the Order or additional information may be obtained by contacting: Division of Hotels and Restaurants, Bureau of Elevator Safety, 2601 Blair Stone Road, Tallahassee, Florida 32399-1013, dhr.elevators@myfloridalicense.com.