# CHAPTER 59A-5

AMBULATORY SURGICAL CENTER LICENSURE

59A-5.002 	Definitions

59A-5.003 	Licensure Procedure

59A-5.004 	Validation, Licensure, & Life Safety Inspections and Complaint Investigations

59A-5.005 	Governing Body

59A-5.0065 	Patient Rights

59A-5.007 	Organized Medical Staff

59A-5.0085 	Departments and Services

59A-5.011 	Surveillance, Prevention, and Control of Infection

59A-5.012 	Medical Records

59A-5.016 	Physical Plant Maintenance

59A-5.017 	Fire Control

59A-5.018 	Comprehensive Emergency Management Plan

59A-5.019 	Quality Assessment and Improvement

59A-5.021 	Plans Submission and Fee Requirements

59A-5.022 	Physical Plant Requirements for Ambulatory Surgical Centers

## 59A-5.002 Definitions.

In addition to definitions contained in Chapter 395, F.S., the following definitions shall apply specifically to ambulatory surgical centers.

(1) “Physician” means a person currently licensed to practice medicine or osteopathy pursuant to Chapter 458 or 459, F.S.

(2) “Anesthesiologist” means a person currently licensed to practice medicine or osteopathy pursuant to Chapter 458 or 459, F.S., and who has completed an approved residency in the field of anesthesiology.

(3) “Dentist” means a person currently licensed to practice dentistry pursuant to Chapter 466, F.S.

(4) “Podiatrist” means a person currently licensed to practice podiatric medicine pursuant to Chapter 461, F.S.

(5) “Administrator” means a person who is delegated the responsibility of carrying out the policies and programs established by the governing body.

(6) “Governing Body” means an individual owner, partnership, corporation or other legally established authority in whom the ultimate authority and responsibility for management of the ambulatory surgical center is vested.

(7) “Organized Medical Staff” means a formal organization of physicians, dentists, podiatrists, or other health professionals, who are appointed by the governing body to attend patients within the ambulatory surgical center.

(8) “Patient” means a person admitted to the ambulatory surgical center.

(9) “Registered Professional Nurse, (R.N.)” means a person currently licensed as an R.N. pursuant to Chapter 464, F.S.

(10) “Certified Registered Nurse Anesthetists, (CRNA)” means a person currently licensed and certified pursuant to Chapter 464, F.S., and certified by the Council on Certification of Nurse Anesthetists.

(11) “O.R. Technician” means a person with specialized training in operation room techniques and considered by the governing body qualified to serve as part of the operating room staff.

(12) “Physician Assistant (PA)” means a person currently licensed pursuant to Chapter 458 or 459, F.S., as a physician assistant.

(13) “Advanced Registered Nurse Practitioner (ARNP)” means a person currently licensed and certified pursuant to Chapter 464, F.S.

(14) “Licensed Practical Nurse (L.P.N.)” means a person currently licensed as an L.P.N. pursuant to Chapter 464, F.S.

(15) “Pharmacist (R.Ph.)” means a person currently licensed pursuant to Chapter 465, F.S.

(16) “Facilities” means those objects, including physical plant, equipment, and supplies necessary for providing required services.

(17) “Regular License” means an unrestricted license issued to an ambulatory surgical center in recognition of substantial compliance with rules and standards of Chapter 59A-5, F.A.C., as authorized under Chapter 395, F.S.

(18) “F.A.C.” means the Florida Administrative Code.

(19) “Center” means an ambulatory surgical center.

(20) “Recovery Bed” means an accommodation with support services used for post-operative recovery in an ambulatory surgical center.

(21) “Owner” means the licensee of an ambulatory surgical center.

(22) “JCAHO” means the Joint Commission for Health Care Organizations.

(23) “AAAHC” means the Accreditation Association for Ambulatory Health Care.

Rulemaking Authority 395.1055 FS. Law Implemented 395.002 FS. History–New 6-14-78, Formerly 10D-30.02, Amended 2-3-88, 5-5-92, Formerly 10D-30.002, Amended 11-13-95.

## 59A-5.003 Licensure Procedure.

(1) In addition to the licensure requirements contained in Section 395.003, F.S., all ambulatory surgical centers shall comply with the following:

(2) All persons requesting licensure for the operation of ambulatory surgical center under the provisions of Chapter 395, F.S., on or after January 1, 1978, shall make application to the Agency for Health Care Administration, Office of Health Facility Regulation, Tallahassee, Florida on AHCA Form 3130-2001 May 95, hereby incorporated by reference, and available from the Agency for Health Care Administration. The ambulatory surgical center shall receive a regular license prior to the acceptance of patients for care or treatment.

(3) Each ambulatory surgical center applying for a license shall be designated by a distinctive name, and the name shall not be changed without first notifying the agency and receiving approval in writing. Duplication of an existing ambulatory surgical center’s name is prohibited.

(4) The following documents shall accompany the initial application:

(a) The Affidavit of Compliance with Fictitious Name pursuant to Section 865.09, F.S.;

(b) Registration of Articles of Incorporation in the State of Florida for the ambulatory surgical center; and

(c) The ambulatory surgical center’s Zoning Certificate or proof of compliance with zoning requirements.

(5) The following documents shall be available for inspection at the center by the agency area office at the initial licensure inspection:

(a) The governing body bylaws, rules and regulations, or other written organizational plan;

(b) Medical staff bylaws, rules and regulations;

(c) Roster of medical staff members;

(d) Nursing procedure manual;

(e) Roster of registered nurses and licensed practical nurses with current license numbers;

(f) The ambulatory surgical center’s fire plan; and

(g) The Comprehensive Emergency Management Plan pursuant to Rule 59A-5.018, F.A.C.

(6) In the case of centers applying for first license after purchase, and previously licensed under other ownership, the licensure application shall include;

(a) A signed agreement with the agency to correct physical plant deficiencies listed in the most recent licensure inspection that conforms to Rules 59A-5.020 through 59A-5.031, F.A.C., shall accompany the license application;

(b) A copy of the closing documents, which must include an effective date and the signatures of both the buyer and the seller;

(c) Registration of Articles of Incorporation in the State of Florida;

(d) The Affidavit of Compliance with Fictitious Name pursuant to Section 865.09, F.S.;

(e) Evidence of payment of, or arrangement to pay, any liability to the state pursuant to Section 395.003(3)(b)2., F.S.

(7) A license fee of $1,500.00 for the operation of an ambulatory surgical center as established by Chapter 395, F.S., shall accompany an application for an initial, renewal or change of ownership license. The license fee shall be made payable to the Agency for Health Care Administration. No license shall be issued without payment of the requisite fee, and, if the application for licensure is withdrawn, only that portion of the fee which is in excess of the agency’s actual costs for processing the application up to the point of withdrawal shall be refunded. Where licenses are denied, the license fee is not refundable.

(8) All permanent additions to the constructed center’s operating room capacity occurring after the issuance of the annual license shall require a new application for licensure.

(9) Each license shall specifically state the number of operating rooms and number of recovery beds in the premise.

(10) Each license shall be returned to the agency immediately upon change in ownership or voluntary cessation of operations; or when license is suspended or revoked.

(11) There shall not be multiple licenses for a single ambulatory surgical center.

(12) Each ambulatory surgical center licensed under Chapter 395, F.S., shall establish an internal risk management program pursuant to Chapter 59A-10, F.A.C., as a part of its administrative function.

(13) Upon receipt of the completed initial application, the agency shall conduct a survey to determine substantial compliance with Chapter 395, F.S., Part I and Rules 59A-5.001 through 59A-5.031, F.A.C.

(14) When an ambulatory surgical center is in substantial compliance with Chapter 395, F.S., Part I and Rules 59A-5.001 through 59A-5.031, F.A.C., and has received all approvals required by law, the agency shall issue, a single license which identifies the ambulatory surgical center and the name and location of the ambulatory surgical center. This license must be displayed in a conspicuous place.

(15) Separate licenses shall not be required for separate buildings on the same grounds when used by the same ambulatory surgical center.

(16) A license issued to an ambulatory surgical center shall be revoked or denied by the agency in any case where the agency finds there has been substantial failure to comply with provisions of Chapter 395, F.S., Part I, or Chapter 59A-5, F.A.C.

(17) A licensee shall notify the agency of impending closure of an ambulatory surgical center 30 days prior to such closure. The ambulatory surgical center shall be responsible for advising the agency as to the disposition of medical records.

Rulemaking Authority 395.1055 FS. Law Implemented 395.001, 395.003, 395.004, 395.1055 FS. History–New 6-14-78, Formerly 10D-30.03, Amended 2-3-88, Formerly 10D-30.003, Amended 11-13-95.

## 59A-5.004 Validation, Licensure, & Life Safety Inspections and Complaint Investigations.

(1) INSPECTIONS. The Agency for Health Care Administration shall conduct periodic inspections of Ambulatory Surgical Centers in order to ensure compliance with all licensure requirements in accordance with Section 395.0161, F.S.

(2) NON-ACCREDITED AMBULATORY SURGICAL CENTERS. Those ambulatory surgical centers which are not accredited by JCAHO or AAAHC shall be subject to a scheduled annual licensure inspection survey by the agency. The fee for conducting an annual licensure inspection shall be $400.00.

(a) Within 10 days of the completion of the agency’s survey, the agency will mail a copy of the survey findings to the center. For those centers determined not in compliance with state licensure requirements, the notification shall include a statement of deficiencies.

(b) Within 10 days of receipt of a statement of deficiencies, the center must prepare and mail a plan of correction for review and approval to the agency. The plan of correction must address the action planned by the center to correct each deficiency, the individuals or entities responsible for implementing the corrective action, and the date by which each corrective action will be completed.

(c) The agency will conduct a follow-up visit to those centers with an approved plan of correction within 30 days of receipt by the agency of the approved plan of correction, or within 30 days of the completion date for deficiencies contained in the approved plan, or will review pertinent materials submitted by the center, to determine compliance with the approved plan of correction.

(d) The agency will work with ambulatory surgical centers to ensure compliance with standards of care through the implementation of acceptable plans of correction. Those centers which fail to implement approved plans of correction shall be subject to sanctions imposed under Section 395.1065, F.S.

(3) ACCREDITED AMBULATORY SURGICAL CENTERS. The agency shall accept the survey report of an accrediting organization pursuant to Section 395.0161, F.S., provided that the standards included in the survey report of the accrediting organization are determined by the agency to document that the ambulatory surgical center is in substantial compliance with state licensure requirements, and the center does not meet the criteria specified under subparagraphs (e)1. and 2.

(a) Upon receipt of the accrediting organization’s survey report, the agency will review the findings to determine if the center is in substantial compliance with state licensure requirements.

(b) The agency shall notify the ambulatory surgical center within 60 days of the receipt of the accrediting organization’s survey report regarding the agency’s determination of the ambulatory surgical center’s compliance or non-compliance with state licensure requirements. For ambulatory surgical centers that are determined not to be in compliance with licensure requirements, the notification will include a statement of deficiencies.

(c) Ambulatory surgical centers determined by the agency not to be in substantial compliance with state licensure requirements shall submit a plan of correction to the agency within 10 days of receipt of the statement of deficiencies.

(d) The agency shall review the plan of correction in accordance with the procedures specified under paragraphs (2)(a) through (d).

(e) Ambulatory surgical centers shall be subject to an annual licensure inspection under the following circumstances:

1. The ambulatory surgical center has been denied accreditation or has received a provisional or conditional accreditation from an accrediting organization on its most recent accreditation survey, and has not submitted an acceptable plan of correction to the accrediting organization and the agency.

2. The ambulatory surgical center has received full accreditation, but has not authorized the release of the report or has not ensured that the agency received the accrediting organization’s survey report prior to the agency’s scheduled survey.

(f) The fee for an annual licensure inspection shall be $400.00 for any accredited center subject to inspection pursuant to paragraph (e).

(4) LIFE SAFETY INSPECTIONS. The agency shall conduct a scheduled annual life-safety inspection of all ambulatory surgical centers to ensure physical plant compliance with life safety codes pursuant to Rules 59A-5.020 through 59A-5.031, F.A.C., and requirements for disaster preparedness pursuant to Rule 59A-5.018, F.A.C., unless:

(a) The ambulatory surgical center was surveyed during an accreditation survey by a Florida certified life safety inspector, and found to be in compliance with life safety requirements by the accrediting organization, and;

(b) The report of that survey has been released to and received by the agency prior to the agency scheduling a life-safety inspection.

(5) LIFE SAFETY INSPECTION FEE. A separate fee of $40.00 shall be assessed for a life-safety inspection, except when conducted as part of a licensure or a Health Care Financing Administration certification inspection.

(6) VALIDATION INSPECTION. Each year, the agency shall conduct validation inspections on a minimum of five percent of those centers that have undergone an accreditation inspection from an accrediting organization, to determine ongoing compliance with state licensure requirements.

(a) Within 10 days following the completion of a validation survey, the agency will mail a copy of its findings to the ambulatory surgical center. For those centers determined not to be in compliance with state licensure requirements the notification will include a statement of deficiencies.

(b) Ambulatory surgical centers found not in compliance based on a validation inspection shall submit a plan of correction as specified under paragraphs (2)(a) through (d).

(c) If the agency determines, based on the results of validation survey findings, that an accredited center is not in substantial compliance with state licensure requirements, the agency shall report its findings to the accrediting organization and shall conduct a full licensure inspection on that center during the following year.

(d) The fee for conducting a licensure validation inspection shall be $400.00. A separate fee for a validation survey will not be assessed when conducted in conjunction with a Health Care Financing Administration certification inspection.

(7) COMPLAINT INVESTIGATIONS. The agency shall conduct investigations of complaints regarding violations of licensure, and life-safety standards in accordance with Section 395.0161, F.S. Complaint investigations will be unannounced. An entrance conference shall be conducted upon arrival, by agency personnel investigating the complaint, to inform the center’s administrator about the nature of the complaint investigation and to answer questions from the center’s staff. An exit conference shall be provided at the conclusion of the on-site investigation to inform the center of the scope of the investigation and to receive any additional information that the center wishes to furnish.

(a) Upon receipt of a complaint, the agency shall review the complaint for compliance with licensure issues, and in addition, shall take the following actions:

1. Complaints involving any ambulatory surgical center shall be reviewed and sent to the appropriate agency’s local area health facility regulation office for investigation, if it is determined that the allegations could constitute a violation of state licensure and federal certification;

2. If allegations are more appropriately addressed by another state agency or entity, the complaint will be referred accordingly.

(b) Upon a determination that investigation of a complaint is warranted, the agency shall complete the complaint investigation within 90 days, unless there is an immediate threat to patient safety and well being, in which case an immediate investigation shall be undertaken.

(c) Upon conclusion of a complaint investigation by the agency, the agency shall notify the affected parties in writing within 10 days of its determination as to the validity of the complaint and any actions to be taken to resolve violations or sanctions imposed against the ambulatory surgical center.

(8) CONFORMANCE WITH ACCREDITATION STANDARDS. In all ambulatory surgical centers where the agency does not conduct an annual licensure inspection, by reason of the ambulatory surgical center’s accreditation status, the ambulatory surgical center shall continue to conform to the standards of accreditation throughout the term of accreditation, or shall notify the agency of the areas of non-conformance. Where the agency is notified of non-compliance, it shall take appropriate action as specified under subsection (3).

(9) SANCTIONS. The agency shall impose penalties pursuant to Section 395.1065, F.S., on those ambulatory surgical centers which fail to submit an acceptable plan of correction or implement actions to correct deficiencies identified by the agency or an accrediting organization which are specified in an approved plan of correction or as identified as a result of a complaint investigation.

Rulemaking Authority 395.1055 FS. Law Implemented 126.60, 395.001, 395.003, 395.0161, 395.1065 FS. History–New 6-14-78, Formerly 10D-30.04, 10D-30.004, Amended 11-13-95.

## 59A-5.005 Governing Body.

(1) The ambulatory surgical center organization shall have an effective governing authority responsible for the legal and ethical conduct of the ambulatory surgical center. The governing body in fulfilling its responsibility shall be organized under approved written bylaws, rules and regulations which shall:

(a) State the qualifications for governing body membership, and the method of selecting members as well as the terms of appointment or election of members, officers and chairmen of committees. Where legally permissible, physicians who are members of the organized medical staff shall be eligible for, and should be included in, full membership of ambulatory surgical centers’ governing bodies and their action committees in the same manner as are other knowledgeable and effective individuals. Also, any other member of the organized medical staff shall be considered eligible for membership of the governing body.

(b) Provide for the designation of officers, their duties, and for the organization of the governing body into essential committees with the number and type consistent with the size and scope of the ambulatory surgical center’s activities.

(c) Coordinate through an executive committee or the governing body as a whole, the policies and activities of the ambulatory surgical centers and special committees established by the governing body.

(d) Specify the frequency of meetings, at regular stated intervals, with a majority of the members constituting a quorum and with the requirement that minutes be recorded and made available to all members of the governing body.

(e) Establish a position, the incumbent of which shall be responsible for operation and maintenance of the ambulatory surgical center as a functioning institution, and define the methods established by the governing body for holding such designated person responsible.

(f) Provide for the appointment, reappointment, or dismissal of members of the organized medical staff through a credential committee or its equivalent and a procedure for hearing and appeal. No action on appointment, reappointment or dismissal shall be taken without prior referral to the medical credential committee for their recommendation, provided that the governing body may suspend an organized medical staff member pending final determination of any reappointment or dismissal. The governing body shall only appoint members of the organized medical staff as recommended by the credentials medical committee.

(g) Provide for the approval of the bylaws, rules and regulations of the organized medical staff.

(h) Require that every patient shall be admitted by and remain under the care of a member of the organized medical staff.

(i) Require that all medications, treatments and procedures shall be administered upon specific orders of a member of the organized medical staff.

(j) Require that all attending organized medical staff members, podiatrists and dentists who do not have admitting privileges at an acute care general hospital, shall have a written agreement from a physician who has staff privileges with one or more acute care general hospitals licensed by the state to accept any patient who requires continuing care; or

(k) Ensure that there is a written facility agreement, with one or more acute care general hospitals licensed by the state, which will admit any patient referred who requires continuing care.

(l) Provide for a formal and official means of liaison among the medical staff, the governing body, and the chief administrative officer to provide a channel for administrative advice.

(m) Specify the classification of services to be provided in the facility and list authorized surgical procedures.

(2) Where the physician-owner-operator serves as the governing body, the articles of incorporation or other written organizational plan shall describe the manner in which the owner-operator executes the governing body responsibility.

Rulemaking Authority 395.1055 FS. Law Implemented 395.003, 393.0191, 395.1055 FS. History–New 6-14-78, Amended 3-3-80, Formerly 10D-30.05, 10D-30.005, Amended 11-13-95.

## 59A-5.0065 Patient Rights.

Each ambulatory surgical center shall develop and adopt policies and procedures to ensure the protection of patient rights; which at a minimum shall include those patient rights specified in Sections 381.026, 395.301, and 395.3025, F.S.

Rulemaking Authority 395.1055 FS. Law Implemented 381.026, 395.001, 395.301, 395.1055, 395.3025 FS. History–New 11-13-95.

## 59A-5.007 Organized Medical Staff.

(1) Each ambulatory surgical center shall have an organized medical staff organized under written by-laws approved by the governing body and responsible to the governing body of the ambulatory surgical center for the quality of all medical care provided to patients in the center and for the ethical and professional practices of its members.

(2) Committees – The structure of committee organization shall be determined by the organized medical staff provided the following required committee functions are carried out with sufficient periodicity to assure that objectives are achieved by separate committee, combined committees, or committee of the whole:

(a) Approval of the policies, procedures, and the activities of all departments and services.

(b) Interim decision making for the organized medical staff between staff meetings, under such limitations as shall be set by the medical staff.

(c) Follow-up and appropriate disposition of all reports dealing with the various staff functions.

(d) Review of all applications for appointment and biennially review reappointment of all categories of medical staff pursuant to Sections 395.0191 and 395.0193, F.S.

(e) Medical records currently maintained describing the condition, treatment, and progress of patient in sufficient completeness to assure comprehension of transfer of patient information at any time.

(f) Clinical evaluation of the quality of medical care provided to all categories of patients on the basis of documented evidence.

(g) Review of ambulatory surgical center admissions with respect to need for admission, discharge practices and evaluation of the services ordered and provided.

(h) Surveillance of ambulatory surgical center’s infection potentials and cases and the promotion of a preventive and corrective program, designed to minimize these hazards.

(i) Surveillance of pharmacy policies and procedures, including review of at least monthly on-site consultant pharmacist visit, shall ensure standards of practice are maintained, including proper disposal of outdated prescription and controlled drugs in accordance with Title 59X-28.702, F.A.C., Chapters 465 and 893, F.S.

Rulemaking Authority 395.1055 FS. Law Implemented 395.001, 395.0191, 395.0193, 395.1055 FS. History–New 6-14-78, Formerly 10D-30.07, Amended 2-3-88, Formerly 10D-30.007, Amended 11-13-95.

## 59A-5.0085 Departments and Services.

(1) SURGICAL DEPARTMENT. This department shall be organized under written policies and procedures relating to surgical staff privileges, anesthesia, functioning standards, staffing patterns and quality maintenance of the surgical suite.

(a) A qualified person designated by the administrator shall be responsible for the daily functioning and maintenance of the surgical suite.

(b) A surgery record shall be maintained on a current basis that contains at least the following information:

Patient’s name and facility patient number, pre-operative diagnosis, post-operative diagnosis, surgical procedure, surgeon, first assistant, anesthesiologist, nurse anesthetist, anesthetic, circulating nurse, O.R. technician, and complications, if any.

(c) Each facility shall ensure, prior to any surgery being performed, that the original signed informed consent for the procedure, verification of the identity of patient, operative site, and operative procedure to be performed are in the patient’s medical record.

(d) A registered nurse shall serve as O.R. Circulating Nurse.

(e) All infections of surgical cases shall be recorded and reported to the Infection Control Committee and a procedure shall exist for the investigation of such cases.

(f) Emergency equipment shall be provided as needed commensurate with the services of the facility, maintained in functional condition, and capable of providing at least the following services:

1. Inhalation and therapy;

2. Defibrillation;

3. Cardiac monitoring;

4. Suctioning;

5. Maintenance of patient airway.

(g) Written procedures in implementation of policies shall relate specifically to the functional activities of the surgical suite and include but not be limited to the following:

1. Surgical asepsis: preparation, handling, and maintenance of sterile equipment and supplies.

2. Medical asepsis: patients, staff, equipment, traffic, and equipment flow patterns.

3. Sterilization and disinfection standards and controls; equipment and supplies.

4. Housekeeping.

(2) ANESTHESIA SERVICE. This service shall be organized under written policies and procedures relating to anesthesia staff privileges, the administration of anesthesia, and the maintenance of strict safety controls.

(a) A qualified anesthesiologist, or certified registered nurse anesthetist, certified pursuant to Section 464.012, F.S., shall be responsible for coordinating the functions, equipment and supplies of the service.

(b) All anesthesia shall be administered by an anesthesiologist or by a certified registered nurse anesthetist, under the on-site medical direction of a licensed physician, except for local anesthesia administered by a podiatrist, and except for local anesthesia administered by a dentist, and such other anesthesia administered by a dentist in accordance with Section 466.017, F.S., and Chapter 59Q-14, F.A.C.

(c) An anesthesiologist or other physician or a certified registered nurse anesthetist under the on-site medical direction of a licensed physician, shall be in the ambulatory surgical center during the anesthesia and post-anesthesia recovery period until all patients are alert or discharged.

(d) At least one registered professional nurse shall be in the recovery area during the patient’s recovery period.

(e) Prior to the administration of anesthesia, patients shall have a history and physical examination including laboratory analysis when indicated.

(f) Written policies and procedures relative to the administration of anesthesia shall be developed by the anesthesia service, approved by the medical staff and the governing body, and be reviewed annually, dated at time of each review, revised as necessary, and enforced.

(g) Anesthetic safety regulations shall be developed, posted and enforced. Such regulations shall include at least the following requirements:

1. All operating room electrical and anesthesia equipment shall be inspected on no less than a semi-annual basis, and a written record of the results and corrective actions be maintained;

2. Flammable anesthetic agents shall not be employed in ambulatory surgical centers;

3. Electrical equipment in anesthetizing areas shall be on an audiovisual line isolation monitor, with the exception of radiologic equipment and fixed lighting more than 5 feet above the floor;

4. Each anesthetic gas machine shall have pin-index system or equivalent safety system and a minimum oxygen flow safety device; and

5. All reusable anesthesia equipment in direct contact with the patient shall be cleaned or sterilized as appropriate after each use;

6. At a minimum the following monitors shall be applied to all patients receiving conduction or general anesthesia:

a. Blood pressure cuff;

b. A continuous temperature device, readily available to measure the patient’s temperature;

c. Pulse Oximeter; and

d. Electrocardiogram.

e. An Inspired Oxygen Concentration Monitor and a Capnograph shall be applied to all patients receiving general anesthesia.

(3) NURSING SERVICE. This service shall be organized under written policies and procedures relating to patient care, establishment of standards for nursing care and mechanisms for evaluating such care, and nursing services.

(a) A qualified registered professional nurse designated by the administrator shall be responsible for coordinating and supervising all nursing services.

(b) There shall be a sufficient staffing pattern of registered professional nurses to provide quality nursing care to each surgical patient from admission through discharge. Such additional trained nursing service personnel shall be on duty as may be needed commensurate with the service of the facility.

(c) A registered professional nurse shall be the operating room circulating nurse.

(d) A registered professional nurse shall be present in the recovery area at all times when a patient is present.

(e) A record shall be currently maintained of all nursing personnel and include regular and relief as well as full-time and part-time staff. The record shall include the current license number of each licensed person.

(f) A current job description delineating duties and responsibilities shall be maintained for each nursing service position.

(g) Written procedures in implementation of policies and to assure quality nursing care shall relate specifically to the functional activities of nursing service and include but not be limited to the following:

1. Patient admission;

2. Pre- and Post-Operative Care;

3. Physician’s and Medical Orders;

4. Standing Orders with required signatures;

5. Medications; storage and administration;

6. Treatments;

7. Surgical Asepsis;

8. Medical Asepsis;

9. Sterilization and Disinfection;

10. Documentation: Medical Records and Facility Records;

11. Patient Discharge;

12. Patient Transfer;

13. Emergency Measures;

14. Isolation Measures;

15. Incident Reports;

16. Personnel Orientation;

17. Inservice Education Record;

18. Equipment and Supplies: availability and maintenance;

19. Visitors.

(4) LABORATORIES. Clinical Laboratory – Each ambulatory surgical center shall provide on the premises or by written agreement with a laboratory licensed under Chapter 483, F.S., and Chapter 59A-7, F.A.C., a clinical laboratory to provide those services commensurate with the ambulatory surgical center’s needs and which conform to the provisions of Chapter 483, F.S., and Chapter 59A-7, F.A.C.

(5) RADIOLOGICAL SERVICES. Each ambulatory surgical center shall provide within the institution, or through arrangement, diagnostic radiological services commensurate with the needs of the ambulatory surgical center.

(a) If radiological services are provided by facility staff, the service shall be maintained free of hazards for patients and personnel.

(b) New installations of radiological equipment, and subsequent inspections for the identification of radiation hazards shall be made as specified in Chapter 10D-91, F.A.C.

(c) Personnel monitoring shall be maintained for each individual working in the area of radiation Readings shall be on at least a monthly basis and reports kept on file and available for review.

1. Personnel – The ambulatory surgical center shall have a radiologist either full-time or part-time on a consulting basis, both to supervise the service and to discharge professional radiological services.

2. A technologist shall be on duty or on call at all times when there are patients within the facility.

3. The use of all radiological apparatus shall be limited to personnel designated as qualified by the radiologist; and use of fluoroscopes shall be limited to physicians.

(d) If provided under arrangement with an outside provider, the radiological services must be directed by a qualified radiologist and meet the standards as specified in Chapter 10D-91, F.A.C.

(6) HOUSEKEEPING SERVICE. The Housekeeping Service shall be organized under effective written policies and procedures relating to personnel, equipment, materials, maintenance, and cleaning of all areas of the ambulatory surgical center. A qualified person designated by the administrator shall be responsible for all procedures. Policies and procedures shall include but not be limited to the following areas:

(a) Operating room suite;

(b) Recovery and pre-operative;

(c) Clean and soiled utilities;

(d) Operating room clean-up;

(e) Operating room materials preparation;

(f) Storage and dispensing;

(g) Laboratory, X-ray and Physical examination;

(h) Isolation units, linen and equipment;

(i) Staff lounges;

(j) Admitting and Business areas;

(k) Separation, handling, and storage of clean and soiled linen.

(l) Identification, separation, handling, and storage of biomedical waste.

Rulemaking Authority 395.1055 FS. Law Implemented 395.001, 395.009, 395.1055, 395.1011, 464.012, 466.017, 483.051 FS. History–New 12-12-96.

## 59A-5.011 Surveillance, Prevention, and Control of Infection.

(1) Each ambulatory surgical center shall establish an Infection Control Program involving members of the medical staff, nursing staff, other professional and administrative staff as appropriate. The program shall provide for:

(a) The surveillance, prevention, and control of infection among patients and personnel;

(b) The establishment of a system for identification, reporting, evaluating and maintaining records of infections;

(c) Ongoing review and evaluation of aseptic, isolation and sanitation techniques employed by the center; and

(d) Development and coordination of training programs in infection control for all center personnel.

(2) Each center shall have written policies and procedures reflecting the scope of the infection control program outlined in subsection (1). The written policies and procedures shall be reviewed at least every two years by the infection control program members, dated at the time of each review, revised as necessary, and enforced.

(3) The policies and procedures devised by the infection control program shall be approved by the governing body, and shall contain at least the following:

(a) Specific policies for the shelf life of all stored sterile items.

(b) Specific policies and procedures related to occupational exposure to blood and body fluids.

(c) Specific policies related to the handling and disposal of biomedical waste in accordance with Chapter 10D-104, F.A.C. June 1995, OSHA 29 CFR Part 1910.1030, Occupational Exposure to Blood Borne Pathogens Final Rule, and the Department of Environmental Protection Code Chapter 62-712, F.A.C., on Biomedical Waste, June 1995.

(d) Specific policies related to the selection, storage, handling, use and disposition of disposable items.

(e) Specific policies related to decontamination and sterilization activities performed at the center, including but not limited to a requirement that steam, gas (ETO) and hot air sterilizers be tested with live bacterial spores at least weekly.

(f) Specific policies regarding the indications for universal precautions, body substance isolation, CDC isolation guidelines, or equivalent and the types of isolation to be used for the prevention of the transmission of infectious diseases.

(g) A requirement that soiled linen be collected in such a manner as to minimize microbial dissemination into the environment.

(h) A requirement that all cases of communicable diseases as set forth in Chapter 10D-3, F.A.C., June 1995, be promptly and properly reported in accordance with the provisions of that rule;

(4) The individuals involved in the infection control program shall meet at least quarterly, shall maintain written minutes of all meetings, and shall make a report at least annually to the quality assurance committee and the governing body.

(5) Each ambulatory surgical center shall establish an employee health policy to minimize the likelihood of transmission of communicable disease by both employees and patients. Such policies shall include, but not be limited to, work restrictions for an employee whenever it is likely that communicable disease may be transmitted, until such time as a medical practitioner certifies that the employee may return to work.

(6) Each center shall ensure that biomedical waste is disposed of according to the Department of Environmental Protection rule Chapter 62-712, F.A.C., 1995.

Rulemaking Authority 395.1055 FS. Law Implemented 381.0035, 395.001, 395.1055 FS. History–New 6-14-78, Formerly 10D-30.11, Amended 2-3-88, Formerly 10D-30.011, Amended 11-13-95.

## 59A-5.012 Medical Records.

(1) Each ambulatory surgical center shall establish processes to obtain, manage, and utilize information to enhance and improve individual and organizational performance in patient care, management, and support processes. Such processes shall:

(a) Be planned and designed to meet the center’s internal and external information needs;

(b) Provide for confidentiality, integrity and security;

(c) Provide education and training in information management principles to decision-makers and other center personnel who generate, collect, and analyze information; and

(d) Provide for information in a timely and accurate manner;

(2) Each center shall have a medical records service, patient information system or similarly titled unit with administrative responsibility for medical records.

(3) The administrator shall appoint in writing a qualified person responsible for the Medical Records Service. This person shall meet the qualifications established for this position, in writing, by the governing body.

(4) A current job description delineating duties and responsibilities shall be maintained for each medical records service position.

(5) The medical records service shall:

(a) Maintain a system of identification and filing to ensure the prompt location of a patient’s medical record. Patient records may be stored on electronic medium such as computer, microfilm or optical imaging;

(b) Maintain a current and complete medical record for every patient admitted to the ambulatory surgical center.

(c) All clinical information pertaining to the patient’s medical treatment shall be centralized in the patient’s medical record.

(d) Ensure that each medical record shall contain the original of the following as appropriate to the service provided:

1. Identification data;

2. Chief complaint;

3. Present illness;

4. Past personal history;

5. Family medical history;

6. Physical examination report;

7. Provisional and pre-operative diagnosis;

8. Clinical laboratory reports;

9. Radiology, diagnostic imaging, and ancillary testing reports;

10. Consultation reports;

11. Medical and surgical treatment notes and reports;

12. The appropriate informed consent signed by the patient;

13. Record of medication and dosage administered;

14. Tissue reports;

15. Physician orders;

16. Physician and nurse progress notes;

17. Final diagnosis;

18. Discharge summary; and

19. Autopsy report, if appropriate.

(e) Ensure that:

1. Operative reports signed by the surgeon shall be recorded in the health record immediately following surgery or that an operative progress note is entered in the patient record to provide pertinent information; and

2. Postoperative information shall include vital signs, level of consciousness, medications, blood or blood components, complications and management of those events, identification of direct providers of care, discharge information from post-anesthesia care area.

(f) Index, and maintain on a current basis, all medical records according to surgical procedure and physician.

Rulemaking Authority 395.1055 FS. Law Implemented 395.001, 395.1055, 395.3025 FS. History–New 6-14-78, Formerly 10D-30.12, 10D-30.012, Amended 11-13-95.

## 59A-5.016 Physical Plant Maintenance.

(1) Each ambulatory surgical center shall establish written policies and procedures designed to maintain the physical plant and overall ambulatory surgical center environment in such a manner that the safety and well-being of patients is assured. The building and mechanical maintenance program shall be under the supervision of a qualified person.

(2) All mechanical and electrical equipment shall be maintained in working order, and shall be accessible for cleaning and inspection.

Rulemaking Authority 395.1055 FS. Law Implemented 395.001, 395.1055 FS. History–New 6-14-78, Formerly 10D-30.16, 10D-30.016, Amended 11-13-95.

## 59A-5.017 Fire Control.

(1) Each ambulatory surgical center shall provide fire protection through the elimination of fire hazards; the installation of necessary safeguards such as extinguishers, sprinkling devices, and fire and smoke barriers as described in Rule 59A-5.022, F.A.C., to insure rapid and effective fire control; and the adoption of written fire control plans rehearsed four (4) times a year by all personnel. To safeguard patients, the ambulatory surgical center shall have:

(a) Written evidence of regular inspection by local fire control agencies.

(b) Stairwells kept closed by fire doors equipped with self-closing devices.

(c) Annual check of fire extinguishers for type, replacement, and renewal dates.

(d) “No Smoking” signs prominently displayed in those areas where smoking is not permitted.

(e) Fire regulations and evacuation route prominently posted for each floor and department.

(2) Written fire control plan approved by the appropriate local fire authority shall contain provisions for prompt reporting of all fires; extinguishing fires; protection of patients, personnel and guests; evacuation; and cooperation with fire fighting authorities.

(3) There shall be rigidly enforced written rules and regulations governing proper routine methods of handling and storing oxidizing, combustible, and flammable explosive agents.

Rulemaking Authority 395.1055 FS. Law Implemented 395.001, 395.1055 FS. History–New 6-14-78, Formerly 10D-30.17, Amended 2-3-88, Formerly 10D-30.017, Amended 11-13-95.

## 59A-5.018 Comprehensive Emergency Management Plan.

(1) Each ambulatory surgical center shall develop and adopt a written comprehensive emergency management plan for emergency care during an internal or external disaster or emergency which it shall review and update annually.

(2) The emergency management plan shall be developed in conjunction with other agencies and providers of health care services within the local community pursuant to Section 252.32(2), F.S., and in accordance with the “Emergency Management Planning Criteria for Ambulatory Surgical Centers”, AHCA FORM 3130-2003 July 94, which is incorporated by reference. The plan shall include:

(a) Provisions for internal and external disasters, and emergencies, pursuant to Section 252.34, F.S.;

(b) A description of the ambulatory surgical center’s role in a community wide comprehensive emergency management plan;

(c) Information about how the center plans to implement specific procedures outlined in its comprehensive emergency management plan;

(d) Precautionary measures, including voluntary cessation of center operations, to be taken by the center in preparation and response to warnings of inclement weather, including hurricanes and tornadoes, or other potential emergency conditions.

(e) Provisions for the management of patients, including the discharge or transfer of patients and staff to a hospital or subacute care facility, at the direction of the center’s administrator, in the event of an evacuation order, or when a determination is made by the Agency for Health Care Administration (ACHA) that the condition of the facility is sufficient to render it a hazard to the health and safety of patients and staff, pursuant to Chapter 59A-5, F.A.C. Such provisions shall address the role and responsibility of the physician in the decision to move or relocate patients;

(f) Provisions for coordinating with hospitals that would receive patients to be transferred;

(g) Provisions for the management of staff, including the distribution and assignment of responsibilities and functions, and the assignment of staff to accompany patients to a hospital or subacute care facility;

(h) A provision that a verification check will be made to ensure patients transferred to a hospital arrive at the designated hospital;

(i) A provision that ensures that copies of medical records and orders accompany patients transferred to a hospital;

(j) Provisions for the management of patients who may be treated at the center during an internal or external disaster or emergencies, including control of patient information and medical records, individual identification of patients, transfer of patients to hospital(s) and treatment of mass casualties;

(k) Provisions for contacting relatives and necessary persons advising them of patient location changes. A procedure must also be established for responding to inquiries from patient families and the press;

(l) A provision for educating and training personnel in carrying out their responsibilities in accordance with the adopted plan;

(m) Identification of mutual aid agreements or statements of understanding for services; and

(n) Provisions for coordination with designated agencies, including the local Red Cross, and the county emergency management agency pursuant to Section 252.311, F.S.

(3) The plan, including appendices, as required by the “Emergency Management Planning Criteria for Ambulatory Surgical Centers”, shall be submitted annually to the county emergency management agency for review and approval. A fee may be charged for the review of the plan as authorized by Sections 252.35(2)(l) and 252.38(1)(e), F.S.

(a) The county emergency management agency has 60 days upon receipt of the plan, in which to review and approve the plan, or advise the ambulatory surgical center of necessary revisions. If the county emergency management agency advises the center of necessary revisions to the plan, those revisions shall be made as authorized by Section 395.1055(1)(c), F.S., and the plan shall be resubmitted to the county emergency management agency within 30 days of notification by the county emergency management agency.

(b) The county emergency management agency shall be the final administrative authority for emergency management plans developed by ambulatory surgical centers.

(4) The ambulatory surgical center shall test the implementation of the emergency management plan semiannually, either in response to an emergency or in a planned drill, and shall evaluate and document the center’s performance. This documentation must be on file at the center and available for inspection by the county emergency management agency and the Agency for Health Care Administration.

(5) The emergency management plan shall be available for immediate access by the staff.

(6) If a center evacuates during or after an emergency, the center shall not be reoccupied until a determination is made by the center’s administrator that the center can meet the needs of the patients. A center with significant structural damage shall not be reoccupied until approval is received from the Agency for Health Care Administration’s Office of Plans and Construction that the center can be safely reoccupied, pursuant to Rules 59A-5.020 through 59A-5.031, F.A.C.

(7) A center that must evacuate the premises due to a disaster or an emergency condition, shall report the evacuation to the Agency for Health Care Administration’s local area health facility regulation office within 24 hours or as soon as practical. The names and destination of patients relocated shall be provided to the county emergency management agency or its designee having responsibility for tracking the population at large. The licensee shall inform the Agency for Health Care Administration’s local area office of a contact person who will be available 24 hours a day, seven days a week, until the center is reoccupied.

Rulemaking Authority 395.1055 FS. Law Implemented 395.001, 395.1055, 252.35, 252.38 FS. History–New 6-14-78, Formerly 10D-30.18, 10D-30.018, Amended 12-28-94.

## 59A-5.019 Quality Assessment and Improvement.

(1) General Provisions. Each ambulatory surgical center shall have an ongoing quality assessment and improvement system designed to objectively and systematically monitor and evaluate the quality and appropriateness of patient care, and opportunities to improve its performance to enhance and improve the quality of care provided to the public.

(a) Such a system shall be based on the mission and plans of the organization, the needs and expectations of the patients and staff, up-to-date sources of information, and the performance of the processes and their outcomes.

(b) Each system for quality assessment and improvement, which shall include utilization review, must be defined in writing, approved by the governing body, and enforced, and shall include:

1. A written delineation of responsibilities for key staff;

2. A policy for all members of the organized medical staff, whereby staff members do not initially review their own cases for quality assessment and improvement program purposes;

3. A confidentiality policy;

4. Written, measurable criteria and norms;

5. A description of the methods used for identifying problems;

6. A description of the methods used for assessing problems, determining priorities for investigation, and resolving problems;

7. A description of the methods for monitoring activities to assure that the desired results are achieved and sustained; and

8. Documentation of the activities and results of the program.

(2) Each center shall have in place a systematic process to collect data on process outcomes, priority issues chosen for improvement, and the satisfaction of the patient. Processes measured shall include:

(a) Appropriate surgical procedures;

(b) Preparation of patient for the procedure;

(c) Performance of the procedure and monitoring of the patient;

(d) Provision of post-operative care;

(e) Use of medications including administration and monitoring of effects;

(f) Risk management activities;

(g) Quality assessment and improvement activities including at least clinical laboratory services and radiology services;

(h) Results of autopsies if needed.

(3) Each center shall have a process to assess data collected to determine:

(a) The level and performance of existing activities and procedures,

(b) Priorities for improvement, and

(c) Actions to improve performance.

(4) Each center shall have a process to incorporate quality assessment and improvement activities in existing ambulatory surgical center processes and procedures.

Rulemaking Authority 395.1055 FS. Law Implemented 395.001, 395.1055 FS. History–New 11-13-95.

## 59A-5.021 Plans Submission and Fee Requirements.

(1) Construction work, including demolition, shall not be started until written approval has been given by the Office of Plans and Construction and must be started within 1 year following approval of construction documents, otherwise reapproval must be obtained and the cost of any additional review by the agency will be applied against the initial plans review fee. All design and construction shall comply with the requirements for such facilities as contained in codes and standards published in the National Fire Protection Association No. 101 Life Safety Code, 1994 edition or subsequent edition pursuant to Section 633.022, F.S., and Standard Building Code 1994 edition Business Occupancy Group B., pursuant to Section 553.73, F.S.

(a) No building shall be converted to an ambulatory surgical center unless it complies with the requirements for new ambulatory surgical centers and meets specified standards for patient services to be rendered as contained in Rules 59A-5.022 through 59A-5.031, F.A.C.

(b) Major alterations and renovations requiring conformance with the physical plant standards for new ambulatory surgical centers are defined to constitute those elements affecting: the structural integrity of the building; fire safety; substantial change of functional operations; or change in number of constructed recovery beds or operating rooms as contained in Rules 59A-5.022 through 59A-5.031, F.A.C.

(2) When construction is contemplated, either for new buildings, additions, or alterations to existing buildings, plans and specifications shall be prepared by a Florida registered architect and by a Florida registered professional engineer. All new buildings and all additions, alterations, conversions and renovations to existing buildings, shall be submitted for approval or exemption from the plan review process.

(3) Plans and specifications subject to review shall be subject to a plan review fee. This fee is prescribed by statute and is as follows.

(a) The amount of the plan review fee for the portion of the review through the first revised construction document review shall not exceed 1 percent of the total estimated cost of the construction project. A cost estimate of the proposed construction shall be submitted by the Florida-registered architect or Florida-registered engineer who is the primary design professional for the project.

(b) An initial fee payment is due with the first submission of plans and specifications to the agency. This initial payment shall be 1 percent of the estimated construction cost or $10,000, whichever is less, but shall in no case be less than $2,000.00. A $2,000.00 portion of the initial fee payment is non-refundable.

(c) The agency shall also collect its actual cost on all subsequent portions of the plan reviews and construction inspections.

(d) All fees shall be paid by check made payable to the Treasurer, State of Florida, with the check noted and identified that it is for the agency’s Plans and Review Trust Fund. Fees will be accepted only from the licensee or prospective licensee.

(4) Plans and specifications shall be submitted in three stages consisting of:

(a) Schematic Plans.

(b) Preliminary Plans – design development drawings.

(c) Construction documents including addenda and change orders.

(5) First Stage – Schematic plans shall include the following as a minimum:

(a) Program.

1. List services to be provided in the proposed construction.

2. A schedule showing total number of operating rooms and recovery beds.

(b) Schematic Plans.

1. Single line drawings of each floor shall show the relationship of the various activities or services to each other and the room arrangement in each. The function of each room shall be noted. The proposed roads and walks, service and entrance courts, parking and orientation, shall be shown on either a small plot or the first floor plan. A simple cross section diagram shall be submitted at this stage. A schematic life safety plan showing smoke and fire compartments and exit passageways.

2. If the project is an addition, or is otherwise related to existing buildings on the site, the plans shall show the facilities and general arrangement of those buildings.

(6) Second Stage – Preliminary plans shall include the following as a minimum:

(a) Civil Engineering Plans. Show existing grade structure and proposed improvements. Provide a vicinity map.

(b) Architectural Plans. Provide floor plans, 1/8'' scale preferred. Show door swings, windows, case work and millwork, fixed equipment and plumbing fixtures. Indicate function of each space. Provide large scale plan of typical new operating and recovery rooms with a tabulation of gross and net square footage of each operating and recovery room. Provide typical large scale wall interior and exterior sections and exterior wall elevations.

(c) Life Safety Plans. Single sheet floor plans showing fire and smoke compartmentation, if any, all means of egress and all existing markings. Additionally, dimension compartments and calculate and tabulate exit units. Show sprinklered areas. Show fire extinguishers and alarm device locations.

(d) Mechanical Engineering Plans. Provide one line diagram of the ventilating system with relative pressures of each space.

(e) Electrical Engineering Drawings. One line diagram of normal and alternate, essential, power systems showing service entrances switchboards, transfer switches, distribution and panel boards, and description of loads. Show fire alarm zones correlated with item (c) above.

(f) Outline Specifications. A general description of the construction, including construction classification and ratings of components, interior finishes, general types and locations of acoustical materials, floor coverings, electrical equipment, ventilating equipment, and plumbing fixtures.

(g) Whenever an existing building is to be converted to an ambulatory surgical center, the general layout of spaces of the existing structure shall be submitted with the preliminary plans for the proposed facility.

(h) Whenever an addition, alteration, renovation or remodeling to an existing facility is proposed, the general layout of spaces of the existing facility shall be submitted with the preliminary plans.

(7) Third Stage – Construction Documents:

(a) The construction documents shall be an extension of the second stage – preliminary plans submittal and shall completely describe the construction contemplated. These documents shall consist of work related to civil engineering, architectural, including a revised life safety plan; this shall include complete large scale details of all smoke walls, horizontal exits and exit passageways, structural engineering, mechanical engineering, including fire control plans, electrical engineering and specifications for the complete description of the aforementioned disciplines. All construction documents shall be well coordinated. It is specifically required that in the case of additions to existing institutions that mechanical and electrical, especially essential electrical systems, conditions be a part of the submittal.

(b) All subsequent addenda, change orders, field orders, and other documents altering the above shall be signed, dated under the signature, sealed and submitted for approval pursuant to Section 471.25 or 481.221, F.S., as appropriate. Any deviation from the approved plans shall require written approval from the agency based upon these rules. Requests for price proposal, which do not officially modify the contract, will not be reviewed.

(c) Third stage submittals shall be acted upon by the agency within 60 days of the receipt of the construction documents. The agency will, within the indicated time frame, approve or disapprove with a listing of deficiencies. If the agency disapproves of this submission because of noncompliance with appropriate codes and these rules, the run of the 60-day period shall automatically stop. Subsequent resubmission of the project shall initiate another 60-day response period.

Rulemaking Authority 395.1055 FS. Law Implemented 395.001, 395.0163, 471.025, 481.221, 553.73, 633.033 FS. History–New 6-14-78, Formerly 10D-30.21, Amended 2-3-88, 5-6-92, Formerly 10D-30.021, Amended 11-12-96.

## 59A-5.022 Physical Plant Requirements for Ambulatory Surgical Centers.

The following minimum standards of construction and specified minimum essential facilities which must be included in ambulatory surgical centers shall apply to all ambulatory surgical centers construction and existing ambulatory surgical centers on the effective date of these rules:

(1) Surgical Suite – The surgical suite shall be located so that traffic shall not pass through the suite to any other part of the ambulatory surgical center.

(a) Operating Rooms – Operating rooms shall be provided in sufficient number to meet the surgical workload of the ambulatory surgical center. The minimum room area shall be 170 square feet. The minimum room dimension shall be 12 feet.

(b) Operating Service Areas – Size of service area will depend upon the surgical workload and shall include:

1. Sterilizing facilities;

2. Medication preparation and storage area;

3. Scrub-up facilities;

4. Soiled work room with work counter;

5. Clean work area with storage for clean and sterile supplies;

6. Blood storage with alarm, if provided in center;

7. Equipment storage;

8. Janitor’s closet with floor receptor of service sink; and

9. Clothing change areas with lockers, showers and toilet rooms for doctors, nurses and other personnel. In new multi-operating rooms centers, the change areas shall be arranged to permit staff personnel to travel from public spaces through the change area to the operation room corridor without passing through any other space.

(c) Recovery Area – It will be located in the surgical suite or adjacent thereto and shall not be a part of the corridor.

(d) Recovery Service Area – The size of each service area will depend on the number and type of beds in each unit, and include:

1. Nurses station. For nurses’ charting, doctors’ charting, communications, and storage for supplies and nurses’ personal effects.

2. Clean work area with work counter and sink.

3. Soiled work area shall contain work counter and soiled linen receptacles.

4. Medication preparation area refrigerator, locked storage, and facilities for preparation and dispensing of medication. May be designated area within clean work area, if a double locked cabinet is provided.

5. Clean linen storage.

6. Nourishment station.

7. Handwashing facilities shall be conveniently located to work areas and nourishment stations.

8. Stretcher and wheelchair parking area or alcove.

(e) Radiology Suite, if provided – Space and fixed equipment for diagnostic x-ray examination, including facilities for development and storage of radiographic film, shall be provided. All radiographic installations shall meet the requirements of NCRP No. 49 and Chapter 10D-91, F.A.C., and shall be subject to inspection by the Bureau of Radiation Control, Department of Health.

(f) Laboratory, if provided – Space and equipment as required for clinical laboratory services shall be provided.

(g) Administrative Department – Space shall be provided for the following functions: business office, admitting office, lobby, public toilet rooms, director of nurses’ office, inservice training or conference room, housekeeper’s office or space, and other space as necessary to meet the ambulatory surgical center’s other needs.

(h) Medical Records – Space shall be provided for clerical staff and inactive record storage.

(i) Laundry – If provided, shall have separate space for: soiled linen; clean linen; linen cart storage, soiled and clean; and storage for laundry supplies.

(j) Central Stores – General storage rooms shall provide a total area of not less than 5 square feet per recovery bed.

(2) Details and Finishes. Details and finishes for new ambulatory surgical centers shall meet the following requirements:

(a) Such items as drinking fountains, telephone booths, and vending machines shall be located so that they do not project into the corridors.

(b) All doors to patient toilet and dressing spaces, shall be a minimum of 2 feet 8 inches wide and equipped with hardware which will permit access in any emergency.

(c) No doors shall swing in the corridor except closet doors and doors to small mechanical rooms.

(d) Thresholds and expansion joint covers, if used, shall be flush with the floor.

(e) All corridor doors must be equipped with automatic positive latching hardware.

(f) Single service paper towel dispensers and soap dispensers shall be provided at all lavatories and sinks used for handwashing.

(g) Ceiling heights shall be as follows:

1. Corridors, storage rooms and patients' toilet rooms, not less than 7 feet 6 inches.

2. All other rooms – no less than 8 feet.

(h) Approved fire extinguishers shall be provided throughout the building in accordance with Chapter 4A-21, F.A.C. If located in corridors, fire extinguishers shall be fully recessed.

(i) Walls shall be washable and in the immediate area of plumbing fixtures, the finish shall be moisture-proof. Wall bases in the dietary areas shall be free of spaces that can harbor insects.

(j) All ceilings shall be washable or easily cleanable except that ceilings shall be washable in operating suites and dietary areas. This requirement does not apply to boiler rooms, mechanical and building equipment rooms, shops and similar spaces.

(k) Ceilings shall be acoustically treated in corridors in patient areas, nurses’ stations, and dining areas.

(l) Wall bases in any areas used for surgical procedures shall be integral with either the wall or the floor surface material and shall be without voids that can harbor harmful bacteria.

(3) Elevators Where Required. All ambulatory surgical centers where either patients’ beds or a critical service facility such as operating, delivery, diagnostic, recreation, patient dining, or therapy rooms, are located on other than one floor, shall have electric or hydraulic elevators and be in compliance with the requirements of Chapters 399, F.S., and Chapter 7C-5, F.A.C. (Florida Elevator Safety Code). At least one 2500-pound capacity elevator shall be installed as a minimum where recovery beds are located on any floor other than the floor of exit discharge.

(4) Water Supply and Sewage Disposal.

(a) Water Supply – An accessible, adequate, safe, and potable supply of water shall be provided and shall be in compliance with Chapter 17-22, F.A.C. Such water supply shall be accessible and available at all times for drinking, cooking, bathing, cleaning, and laundry purposes. Whenever a municipal or community public water supply is available, such water supply shall be used in lieu of installing a privately owned water system. All plans regarding potable water supply systems shall be approved by the county health department of the county in which the proposed ambulatory surgical center is to be located, and the Department of Environmental Protection.

(b) Sewage Disposal – An adequate and safe method of sewage collection, treatment and disposal shall be provided for each center, and shall be in compliance with Chapter 17-6, F.A.C. Whenever an existing sewer system is available to the ambulatory surgical center, such system shall be used. All plans regarding collection, treatment and disposal of sewage shall be approved by the county health department of the county in which the ambulatory surgical center is to be located and the Department of Environmental Protection.

(5) Incinerators. Incinerators, if provided, shall be approved by the Department of Environmental Protection under the authority of Chapter 403, F.S.

(6) Air Conditioning, Heating and Ventilating Systems.

(a) Heating and Cooling. Air handling equipment serving a large space or more than one room shall be separated by walls or partitions from storage and occupied areas.

(b) In new construction, fire dampers, where required, shall be installed in the plane of the wall or floor or if installed in a 10 gauge steel sleeve, not more than 12 inches out of the plane. Access doors shall be provided outside of the sleeve. In existing facilities where the access door is between the plane of the wall or floor and the damper, the access door shall be considered as a smoke door and shall be made self-closing. Smoke dampers shall meet the requirements as prescribed by Chapter 4A-3, F.A.C. When air handling equipment is not operating, the smoke dampers in the ductwork associated with that equipment shall close.

(c) Ventilation. Ventilation shall be provided in all rooms in new and remodeled facilities by mechanical means. The minimum quantities and filtrations as set forth in the Minimum Ambulatory Surgical Center Ventilation Rate Table included as Table I for those spaces that are listed shall be met. Rooms in existing facilities which are not being remodeled need not meet the rate table requirements.

(d) Under fire alarm conditions, corridors shall not be used to supply air to or return air from any space except as prescribed by an engineered smoke control system, either passive or active.

(e) Variable volume systems are permitted in all ambulatory surgical centers except in surgical procedures rooms and recovery rooms.

(f) All air supplied to operating rooms shall be delivered at or near the ceiling of the area served, and all air removed from the area shall be removed near the floor level laterally. Laminar flow systems are not to be prohibited by this requirement. At least two return or exhaust outlets shall be used in all operating rooms. The bottom of the exhaust or return outlets shall be located not less than 3 inches nor more than 12 inches above the finished floor.

(g) All spaces having large volume exhaust hoods shall have sufficient make-up supply such that the required pressure relationship will not be adversely affected by the operation of the hood.

(h) Outdoor air intakes shall be located at least 36 inches above surrounding surfaces and a minimum of 10 feet from any exhaust air and plumbing vent. Air intakes for through-the-wall air conditioners serving no more than 1 room are an exception to the 36 inch requirements.

(i) Friable duct linings exposed to air movement shall not be used in ducts, terminal boxes or other systems supplying operating rooms and recovery rooms, unless terminal filters of at least 90 percent efficiency are installed downstream of linings.

(j) Smoke dampers shall be capable of being reset automatically.

(k) Condensate shall be piped to a roof drain or floor drain or shall spill on the ground.

(l) Roof mounted air handling units shall be located away from any pounding on the roof.

| TABLE I |
| --- |
| Room or | Relative | Total | Outdoor | 100% | System* & |
| Function | Pressure | Air | Air Quantities | Exhaust | Filtration** |
|  |  | Quantities |  |  |  |
| Operating Rooms | + | 20 | 4.0 | No | 1A, 2A |
| Recovery | 0 | 15 | 2.8 | No | 1A, 2A |
| Corridors | 0 | 2 | 1.5 | No | 1A, 2B |
| Exam. & Treatment | 0 | 6 | – | No | 1A, 2B |
| Nourishment Pantry | 0 | 4 | – | No | 1A, 2B |
| Medicine Prep. | 0 | 4 | – | No | 1A, 2B |
| Clean Work Area | + | 4 | 2.00 | No | 1A, 2B |
| Soiled Work Area | – | 10 | 2.00 | Yes | 1A, 2B |
| X-Ray | 0 | 6 | – | No | 1A, 2B |
| Fluoroscopic | – | 6 | – | Yes | 1A, 2B |
| Toilets, Janitor’s | – | 10 | – | Yes | – |
| Closets, Baths, Showers & |  |  |  |  |  |
| Bedpan Rooms |  |  |  |  |  |
| Sterilizer Equipment | – | 10 | – | Yes | – |
| Room |  |  |  |  |  |
| Laboratory | – | 6 | 2.00 | Yes | 1A, 2B |

May be recirculated to the lab but not to other parts of the ambulatory surgical center, except for Bacteriology and Histology which must be 100% exhaust air.

| Sterile Packaging | + | 4 | 2.00 | No | 1A, 2B |
| --- | --- | --- | --- | --- | --- |
| Clean Storage | + | 2 | 1.1 | No | 1A, 2B |
| Anesthesia | 0 | 8 | 0 | Yes | 1D |
| storage |  |  |  |  |  |
| Decontamination | – | 6 | – | Yes | – |
| or Soiled |  |  |  |  |  |
| Workroom |  |  |  |  |  |
| Storage, Medical | 0 | 2 | – | No | 1C |
| Laundry | 0 | 10 | 3.3 | Yes | 1C |
| Clean Linen | 0 | 6 | 2 | No | 1C |
| Storage & |  |  |  |  |  |
| Handling |  |  |  |  |  |
| Soiled Linen | – | 10 | – | Yes | – |
| Storage & |  |  |  |  |  |
| Handling |  |  |  |  |  |
| Storage, General | 0 | 2 | 1.0 | No | 1C |
| Corridors (non-patient) | 0 | 2 | 1.0 | No | 1C |

Note: Administrative and other staff only areas shall be provided with outside air at the minimum rate of 5 cfm per person and central system shall have a minimum of 50% ASHRAE dust spot efficiency filter.

* SYSTEMS TYPES

1. Central system recirculating and redistributing air to other rooms or spaces.

2. Central system distributing 100% outside air.

3. Individual units with no recirculation to other rooms or spaces.

** FILTRATION LEVELS

A. 90% by the ASHRAE Atmospheric Dust Spot Test Method.

B. 80% by the ASHRAE Atmospheric Dust Spot Test Method.

C. 25% by the ASHRAE Atmospheric Dust Spot Test Method.

D. Low efficiency, throw-away.

(7) Plumbing Fixtures.

(a) Plumbing shall comply with Chapter 10D-9, F.A.C.

(b) Lavatories and sinks required in patient care areas shall have the water supply spout mounted so that its discharge point is a minimum distance of 5 inches above the rim of the fixture. All fixtures used by medical and nursing staff shall be trimmed with valves which can be operated without the use of hands. Where blade handles are used for this purpose, they shall not exceed 4 1/2 inches in length, except that handles on clinical sinks shall not be less than 6 inches long, and scrub sinks shall have foot, knee, or elbow operated water control valves or timers.

(c) Clinical sinks if provided shall have an integral trap in which the upper portion of a water surface provides a visible trap seal.

(d) Floor drains shall not be installed in operating rooms.

(8) Electrical Requirements. All material, including equipment, conductors, controls, and signaling devices, shall be installed to provide a complete electrical system with the necessary characteristics and capacity to supply the electrical facilities shown in the specifications or indicated on the plans. All materials shall be listed as complying with applicable standards of Underwriters’ Laboratories, Inc., or other similarly established standards.

(a) All spaces occupied by people, machinery and equipment within buildings, and the approaches thereto, and parking lots, shall have electric lighting.

(b) Patients’ recovery rooms shall have general lighting. Fixed lights not switched at the door shall have switch controls convenient for use at the luminaries. All switches for control of lighting in recovery areas shall be of the quiet operating type.

(c) Operating rooms shall have general lighting for the room in addition to local lighting provided by special lighting units at the surgical tables. Each special lighting unit for local lighting at tables shall be connected to an independent branch circuit.

(d) Each operating room shall have at least three receptables of the interchangeable type as defined in National Fire Protection Association Code as prescribed by Chapter 4A-3, F.A.C.

(e) Each patient recovery room shall have duplex receptacles as follows: one on each side for the head of each bed, for parallel adjacent beds only one receptacle is required between beds; receptacles for luminaries and motorized beds, if used; and one receptacle on another wall.

(f) Duplex receptacles for general use shall be installed approximately 50 feet apart in all corridors and within 25 feet of ends of corridors.

(g) In areas where gaseous anesthetic agents are used, such as operating and anesthesia induction rooms, and rooms for storage of flammable gases, all electrical equipment and devices including receptacles, and wiring shall comply with the National Fire Protection Association Code as prescribed by Chapter 4A-3, F.A.C.

(9) Nurses’ Calling System and Fire Alarm System. In facilities which contain more than eight recovery beds, or where recovery beds are not in direct view from the nurses’ station, a nurses’ calling system shall be provided. Each recovery bed shall be provided with a call button. Two call buttons serving adjacent beds may be served by one calling station. Call shall activate a visual and audible signal at the nurses’ station and in the clean workroom and soiled workroom. If voice circuits are provided, indicating lights shall be used and shall remain lighted as long as the voice circuit is operating.

(a) A nurses’ call emergency system shall be provided at each patient toilet and dressing room. Activation shall be by a pull cord which extends to within 4 inches above the floor. This system will activate audiovisual signals in the recovery room nurses’ station and in the surgical suite nurses’ station. The emergency call system shall be designed so that signal light activation will remain lighted until turned off at patient’s calling station.

(b) A fire alarm system shall be installed in compliance with the National Fire Protection Association Code as prescribed by Chapter 4A-3, F.A.C.

(10) Emergency Electric System. There shall be an electrical service to provide power and light for a minimum period of 2 hours. The system shall operate emergency exit lighting, fire alarm systems and nurses’ calling systems, surgical room lighting, recovery room lighting and shall power monitoring equipment and selected receptacles in the operating and recovery areas. Power may be supplied by batteries or an emergency generator.

Rulemaking Authority 395.1055 FS. Law Implemented 395.1055 FS. History–New 6-14-78, Formerly 10D-30.22, Amended 2-3-88, Formerly 10D-30.022, Amended 6-11-97.